## Sheet1
Insert values in white cells, don't touch the grey one |  | Ponga valores en las celdas blancas, no toques las celdas grises!
Spacing Pattern: Square | Sprinkler radius (or throw) is the same as sprinkler distance, i.e. sprinklers are head-to-head
Patron: Cuadrado | El radio (el alcance) de los aspersores es igual a la distancia entre ellos, o sea están "head-to-head"
Distance between lines | Distance between sprinklers on the line | Area served by each sprinkler | Sprinkler flowrate | Application rate
Distancia entre las lineas | Distancia entre aspersores en la linea | Area regada por cada aspersor | Caudal del aspersor | Tasa de aplicación
ft | ft | ft2 | gpm | in/hr
15.5 | 15.5 | 240.25 | 2 | 0.8013
Spacing Pattern: Equilateral Triangle | Sprinkler radius (or throw) is the same as sprinkler distance, i.e. sprinklers are head-to-head
Patron: Triangulo Equilatero | El radio (el alcance) de los aspersores es igual a la distancia entre ellos, o sea están "head-to-head"
| Distance between sprinklers | Area served by each sprinkler | Sprinkler flowrate | Application rate
| Distancia entre aspersores | Area regada por cada aspersor | Caudal del aspersor | Tasa de aplicación
| ft | ft2 | gpm | in/hr
| 28 | 678.9639 | 3.4 | 0.48202
Note: in a square pattern, each square or rectangle between 4 sprinklers, receives one quarter of the flowrate of each of them. So it receives 4 quarters of the flowrate of a sprinkler, or the full flowrate of a sprinkler. Thus we take the flowrate of a sprinkler and we divide it by the area between 4 sprinklers
Nota: en un patron cuadrado, cada cuadrado entre 4 aspersores recibe un cuarto del caudal de cada uno. Entonces recibe 4 cuartos de caudal que es igual al caudal entero de un aspersor. Entonces, para calcular la tasa de aplicacion, dividimos el caudal de un aspersor por el area entre 4 aspersores
In an equilateral triangular pattern, each triangle between 3 sprinklers received one sixth of water from each of them. Thus, it received 3/6 of the flowrate of one sprinkler, or half of the flowrate of a sprinkler. So it's as if each sprinkler irrigated two triangles, so we calculate the area of two triangles and then divide the sprinkler flowrate by that area
En un patron de triangulo equilatero, cada triangulo entre 3 aspersores recibe un sexto del agua de tres aspersores, o sea tres sextos o sea la mitad del caudal de un aspersor. Entonces es como si cada aspersor distribuyera todo su caudal en dos triangulos. Entonces calculamos el area de dos triangulos y dividimos el caudal de un aspersor por esa area.
Radius or throw
Radio o alcance
Radius or throw
Radio o alcance